Sheet Number	Sheet Title
TOC	TABLE OF CONTENTS

Sheet List Table

SLW-01A	RESIDENTIAL WATER SERVICE CONNECTION
SLW-01B	RESIDENTIAL WATER SERVCE METER DETAIL
SLW-02A	COMMERCIAL WATER SERVICE CONNECTION
SLW-02B	COMMERCIAL MULTI-SERVICE METER BANK ASSEMBLY
SLW-03	METER & BACKFLOW PREVENTION ASSEMBLY FOR 3'' & LARGER SERVICES SLW-04	FIRE HYDRANT ASSEMBLY
SLW-05	FIRE SERVICE BACKFLOW ASSEMBLY
SLW-06	FIRE HYDRANT REFLECTIVE PAVEMENT MARKER PLACEMENT GUIDELINE
SLW-07	BLOW-OFF ASSEMBLY
SLW-08	AUTOMATIC FLUSHING VALVE FOR WATER MAINS
SLW-09	WATER SAMPLING POINT
SLWS-01	SANITARY SEWER CLEANOUT
SLWS-02	SANITARY SEWER LATERAL (SHALLOW)
SLWS-03	SANITARY SEWER LATERAL (DEEP)
SLWS-04	SERVICE LATERAL
SLWS-05	STANDARD PRECAST MANHOLE
SLWS-06	MANHOLE - WETWELL JOINT DETAIL
SLWS-07	INVERT FLOW CHANNELS FOR MANHOLES
SLWS-08	STANDARD PRECAST MANHOLE (DROP)
SLWS-09	INSIDE DROP CONNECTION PRECAST MANHOLE
SLWS-10A	GREASE, OIL, AND SAND INTERCEPTOR
SLWS-10B	GREASE, OIL, AND SAND INTERCEPTOR
SLWS-11		STANDARD LIFT STATION CONTROL PANEL RACK (240V) FRONT&PLAN VIEW SLWS-12	THREE PHASE DUPLEX COMMERCIAL LIFT STATION (WITH VALVE VAULT) SLWS-13 A		LIFT STATION WET WELL SECTION (NO VALVE VAULT)
SLWS-13 B	LIFT STATION WET WELL PLAN VIEW
SLWS-14	LIFT STATION WATER METER AND BACKFLOW PREVENTION ASSEMBLY
SLWS-15A	2HP DUPLEX COMMERCIAL GRINDER SYSTEM
SLWS-15B	2HP DUPLEX COMMERCIAL GRINDER SYSTEM
SLWS-16	GRINDER SYSTEM WATER METER AND BACKFLOW PREVENTION ASSEMBLY SLWS-17	THREE PHASE DUPLEX GRINDER SYSTEM CONTROL PANEL-PEDESTAL DETAIL SLWS-18	3 OR 5HP THREE PHASE DUPLEX COMMERCIAL GRINDER SYSTEM
SLWS-19	GRINDER SYSTEM SERVICE LINE TAP TO MAIN LINE
SLWS-20	AUTOMATIC AIR RELEASE VALVE FOR FORCE MAINS IN UNPAVED AREAS SLWS-21	FORCE MAIN AIR VALVE AND ACCESS MANHOLE
SLWS-22	LIFT STATION SIGNAGE
SLWG-01	TYPICAL VALVE BOX AND COLLAR
SLWG-02	VALVE LOCATION GUIDELINES FOR INTERSECTIONS
SLWG-03	WET TAP ASSEMBLY
SLWG-04	STANDARD SEPARATION REQUIREMENTS
SLWG-05	PIPELINE RESTRAINT REQUIREMENTS (HORIZONTAL)
SLWG-06	PIPELINE RESTRAINT REQUIREMENTS (VERTICAL)
SLWG-07	PIPELINE RESTRAINT REQUIREMENTS (REDUCER)
SLWG-08	STANDARD PIPE TRENCH CROSS SECTION
SLWG-09	UTILITY ROAD CUT PAVEMENT RESTORATION
SLWG-10	PIPE CASING FOR JACK AND BORE
SLWG-11A	AERIAL CROSSING DETAIL
SLWG-11B	FAN GUARD - PILE CAP DETAIL
SLWG-12A	CANAL OR DRAINAGE DITCH CROSSING
SLWG-12 B	CANAL CROSSING SIGN
SLWG-13A	POTABLE TEMPORARY JUMPER CONNECTION
SLWG-13B	TEMPORARY JUMPER CONNECTION
SLWG-14A	NON-POTABLE WATER TEMPORARY JUMPER CONNECTION
SLWG-14B	NON-POTABLE WATER TEMPORARY JUMPER CONNECTION
SLWG-15	RECLAIMED WATER SITE SIGNAGE
SLWG-16 A	CHAIN LINK FENCE
SLWG-16B	FENCE DETAILS
SLWG-17	BOLLARD DETAIL

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT

FILE NAME: TOC DATE: 06/2020

450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

TABLE OF CONTENTS

SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

RESIDENTIAL WATER SERVICE CONNECTION

DETAIL: SLW-01A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

 SINGLE SERVICE	 DOUBLE SERVICE

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

RESIDENTIAL WATER SERVICE METER DETAIL

DETAIL: SLW-01B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

COMMERCIAL WATER SERVICE CONNECTION

DETAIL: SLW-02A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

PLAN

PROFILE

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

COMMERCIAL MULTI-SERVICE METER BANK ASSEMBLY

DETAIL: SLW-02B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

*

 PLAN VIEW

*

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

METER AND BACKFLOW PREVENTION ASSEMBLY FOR

DETAIL: SLW-03
DATE: 03/2020 SCALE: N.T.S.

PHONE: (772) 340-0220

3" AND LARGER SERVICES	SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

FIRE HYDRANT ASSEMBLY

DETAIL: SLW-04 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

 PLAN VIEW

 SIDE ELEVATION VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

FIRE SERVICE
BACKFLOW ASSEMBLY

DETAIL: SLW-05 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

FIRE HYDRANT
REFLECTIVE PAVEMENT MARKER

DETAIL: SLW-06
DATE: 03/2020 SCALE: N.T.S.

PHONE: (772) 340-0220

PLACEMENT GUIDELINE	SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

BLOW-OFF ASSEMBLY

DETAIL: SLW-07 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

AUTOMATIC FLUSHING VALVE FOR WATER MAINS

DETAIL: SLW-08 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

WATER SAMPLING POINT

DETAIL: SLW-09 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

SANITARY SEWER CLEANOUT

DETAIL: SLWS-01 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

DOUBLE SERVICE TYPICAL

SINGLE SERVICE TYPICAL

ELEVATION

DOUBLE SERVICE TYPICAL

SINGLE SERVICE TYPICAL

PLAN VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

SANITARY SEWER LATERAL (SHALLOW)

DETAIL: SLWS-02 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

DOUBLE SERVICE TYPICAL

SINGLE SERVICE TYPICAL

ELEVATION

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

SANITARY SEWER LATERAL
(DEEP)

DETAIL: SLWS-03 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

 PLAN NTS

 PROFILE NTS

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

SERVICE LATERAL

DETAIL: SLWS-04 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

STANDARD PRECAST MANHOLE

DETAIL: SLWS-05 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

JOINT SEALANTS

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

MANHOLE / WETWELL JOINT DETAIL

DETAIL: SLWS-06 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

PLAN VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

INVERT FLOW CHANNELS FOR

DETAIL: SLWS-07
DATE: 03/2020 SCALE: N.T.S.

PHONE: (772) 340-0220

MANHOLES	SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

STANDARD PRECAST MANHOLE (DROP)

DETAIL: SLWS-08 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

INSIDE DROP CONNECTION PRECAST MANHOLE

DETAIL: SLWS-09 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

TOP VIEW

SECTION VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

GREASE, OIL, AND SAND INTERCEPTOR

DETAIL: SLWS-10A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

STANDARD DETAIL NOTES FOR GREASE/SAND/OIL INTERCEPTORS

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

GREASE, OIL, AND SAND INTERCEPTOR

DETAIL: SLWS-10B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

 VIEW A-A

 FRONT VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

STANDARD LIFT STATION
CONTROL PANEL RACK (240V)

DETAIL: SLWS-11
DATE: 03/2020 SCALE: N.T.S.

PHONE: (772) 340-0220

FRONT & PLAN VIEW	SHEET: 1 OF 1

PLAN VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

THREE PHASE DUPLEX
COMMERCIAL LIFT STATION (WITH VALVE VAULT)

DETAIL: SLWS-12 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

PUMP DATA:
MANUFACTURER ** MODEL NUMBER ** VOLTS**
OPERATING CONDITIONS:

WETWELL DIAMETER **
IMPELLER NUMBER ** 3 PHASE 60 HERTZ

HP**

RPM**

**	GPM AT **	TDH	**	% EFFICIENCY
SIZED FOR MINIMUM PUMP CYCLE TIME OF 12 MINUTES AND A MAXIMUM OF 6 PUMP STARTS PER HOUR. WORKING DEPTH **	FT.	WORKING VOLUME **	GALS.

℄

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

LIFT STATION WET WELL SECTION (NO VALVE VAULT)

DETAIL: SLWS-13A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

LIFT STATION WET WELL PLAN VIEW

DETAIL: SLWS-13B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

WATER MAIN PRESSURE TRANSDUCER INSTALLATION DETAIL

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

LIFT STATION WATER METER AND
BACKFLOW PREVENTION ASSEMBLY

DETAIL: SLWS-14 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

2HP DUPLEX
COMMERCIAL GRINDER SYSTEM

DETAIL: SLWS-15A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

PUMP STATION PLAN VIEW

PUMPOUT CONNECTION SECTION A-A

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

2HP DUPLEX
COMMERCIAL GRINDER SYSTEM

DETAIL: SLWS-15B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

GRINDER SYSTEM WATER METER AND
BACKFLOW PREVENTION ASSEMBLY

DETAIL: SLWS-16 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

REAR VIEW	SIDE VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

THREE PHASE DUPLEX GRINDER SYSTEM CONTROL PANEL - PEDESTAL DETAIL

DETAIL: SLWS-17 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

3 OR 5HP THREE PHASE DUPLEX

DETAIL: SLWS-18 DATE: 03/2020
SCALE: N.T.S.

PHONE: (772) 340-0220

COMMERCIAL GRINDER SYSTEM	SHEET: 1 OF 1

GRINDER SERVICE CONNECTION

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

GRINDER SYSTEM SERVICE LINE TAP TO MAIN LINE

DETAIL: SLWS-19 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

AUTOMATIC AIR RELEASE VALVE FOR FORCE MAINS IN

DETAIL: SLWS-20 DATE: 03/2020
SCALE: N.T.S.

PHONE: (772) 340-0220

UNPAVED AREAS	SHEET: 1 OF 1

A

A
PLAN VIEW

SECTION A

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

FORCE MAIN AIR VALVE AND ACCESS MANHOLE

DETAIL: SLWS-21 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

LIFT STATION SIGNAGE

DETAIL: SLWS-22 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

 CONCRETE VALVE COLLAR
 SECTION A-A

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

TYPICAL VALVE BOX AND COLLAR

DETAIL: SLWG-01 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

VALVE LOCATION GUIDELINES FOR INTERSECTIONS

DETAIL: SLWG-02 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

WET TAP ASSEMBLY

DETAIL: SLWG-03 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

DETAIL: SLWG-04 DATE: 03/2020 SCALE: N.T.S.
SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

STANDARD SEPARATION REQUIREMENTS

MINIMUM SEPARATION BETWEEN SLWSD FACILITIES AND OTHER UTILITIES

OTHER PIPE	HORIZONTAL SEPARATION	CROSSINGS (1)	JOINT SPACING @ CROSSINGS (FULL JOINT CENTERED)	

GRAVITY OR
PRESSURE SANITARY SEWER, SANITARY SEWER FORCE MAIN, RECLAIMED WATER (3),
VACUUM SANITARY SERVICE	
WATER MAIN 10' MINIMUM	
WATER MAIN 18' MINIMUM	

6' MINIMUM

WATER MAIN	
				
	(4)			
ALL OTHER FACILITIES, INCLUDING BUT NOT LIMITED TO:
STORM SEWER, STORMWATER FORCE MAIN,
RECLAIMED WATER (2),	SLWSD FACILITY

5' MINIMUM	SLWSD FACILITY
(4)
18' MINIMUM	

3' MINIMUM	
TELEPHONE, CABLE TV, POWER, ETC.			WATER MAIN	
				
ON-SITE SEWAGE TREATMENT AND DISPOSAL SYSTEM	10' MINIMUM	- - - - -	- - - - -	

HORIZONTAL BENDS

   	

 	

	

	

 	

	

	

	

	

	

	

	

	

	

	

	

 	

	

	

	

 	

	

	

	

	

 	

	

 	

	

	

	

	

	

	

	

	

 	

							

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

PIPELINE RESTRAINT
REQUIREMENTS (HORIZONTAL)

DETAIL: SLWG-05 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

VERTICAL BENDS

  		

 	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

	

 	

	

	

	

	

	

	

	

	

 	

	

	

 	

	

	

 	

	

	

	

	

	

	

	

	

	

	

	

	

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

PIPELINE RESTRAINT
REQUIREMENTS (VERTICAL)

DETAIL: SLWG-06 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

REDUCER

          	

	

 	

 	

	

	

		

	

	

 	

	

			

	

 	

	

	

	

	

 	

	

 					

	

	

	

 						

	

 	

	

	

 	

	

 								

	

	

 									

 	

	

	

	

											

 	

												

 	

	

														

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

PIPELINE RESTRAINT
REQUIREMENTS (REDUCER)

DETAIL: SLWG-07 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

STANDARD PIPE TRENCH CROSS SECTION

DETAIL: SLWG-08 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

PLAN VIEW

SECTION VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

UTILITY ROAD CUT PAVEMENT RESTORATION

DETAIL: SLWG-09 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

SIDE VIEW

 	

 	

	

	

	

	

	

	

	

	

	

	

	

	

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

PIPE CASING FOR JACK AND BORE

DETAIL: SLWG-10 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

AERIAL CROSSING DETAIL

DETAIL: SLWG-11A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

FAN GUARD / PILE CAP DETAIL

DETAIL: SLWG-11B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

SECTION A-A

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

CANAL OR DRAINAGE DITCH CROSSING

DETAIL: SLWG-12A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

BURIED WATER MAIN
ST. LUCIE WEST SERVICES DISTRICT
772-873-6400

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

CANAL CROSSING SIGN

DETAIL: SLWG-12B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

PLAN VIEW

ALTERNATE

 ELEVATION VIEW

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

POTABLE TEMPORARY JUMPER CONNECTION

DETAIL: SLWG-13A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

TEMPORARY JUMPER CONNECTION

DETAIL: SLWG-13B DATE: 03/2010 SCALE: N.T.S. SHEET: 2 OF 2

FOR 2" JUMPER CONNECTION ONLY

FOR JUMPER CONNECTIONS OF 4" OR GREATER

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

NON-POTABLE WATER TEMPORARY JUMPER

DETAIL: SLWG-14A DATE: 03/2020
SCALE: N.T.S.

PHONE: (772) 340-0220

CONNECTION	SHEET: 1 OF 2

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE,
PORT SAINT LUCIE, FL 34986

NON-POTABLE WATER TEMPORARY JUMPER

DETAIL: SLWG-14B
DATE: 03/2020 SCALE: N.T.S.

PHONE: (772) 340-0220

CONNECTION	SHEET: 2 OF 2

DO NOT SWIM
PROHIBIDO NADAR

RECLAIMED WATER AGUA RECLAMADA
BEING USED FOR IRRIGATION
USADA PARA REGAR
DO NOT DRINK NO BEBER

RECLAIMED WATER AGUA RECLAMADA
BEING USED FOR IRRIGATION
USADA PARA REGAR
DO NOT DRINK NO BEBER

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

RECLAIMED WATER SITE SIGNAGE

DETAIL: SLWG-15 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1

 FENCE DETAIL

 DOUBLE SWING GATE DETAIL

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

CHAIN LINK FENCE

DETAIL: SLWG-16A DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 2

LINE POST	CORNER POST

GATE	GATE POST

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

FENCE DETAILS

DETAIL: SLWG-16B DATE: 03/2020 SCALE: N.T.S. SHEET: 2 OF 2

³

MINIMUM CONSTRUCTION STANDARDS FOR ST. LUCIE WEST SERVICES DISTRICT
450 SW UTILITY DRIVE, PORT SAINT LUCIE, FL 34986 PHONE: (772) 340-0220

BOLLARD DETAIL

DETAIL: SLWG-17 DATE: 03/2020 SCALE: N.T.S. SHEET: 1 OF 1