Attachment "F"
RESCISSION OFPRECAUTIONARY BOIL WATER NOTICE

Date of Notice: 1112s12020

RE Location: 460-490 SW Concourse Pl

Dear Customer:

Effective today the "Precautionary Boil Water Notice" that was put in effect on
1.11.mQ   is hereby rescinded.

The following actions were taken to correct the problem:
The water main was repaired, valve was repaired/replaced.
The utility has flushed the system.

The utili has flushed the system and completed all testing lo ensure the drinking water standards have been met.
We have also satisfactorily completed a bacteriological survey showing that the water
is safe to drink.

Should you have any questions please do not hesitate to call the Chief Water Plant Operator, i he is unavailable please ask for the Assistant Utilities Director, Utilities Director or District Manager.

9,1RJnioh	1omSfirfzi,er
Richard Riniolo, Chief Water Plant Operator	Tom Stirtzinger, Assistant Utilities Director ST LUCIE WEST SERVICES DISTRICT	ST LUCIE WEST SERVICES DISTRiCT
450 SW UTILITY DRIVE	450 SW UTILITY DRIVE
PORT ST LUCIE, FL 34986	PORT ST LUCIE, FL 34986
(772) 340-0220 I Fax (772) 871-5771	(i72) 340-0220 / Fax (772) 871-5771

450 SW Utiliry Drive • Port St Lucie,FL 34986 • Office (772) 340-0220 • Fax (772) 871-5771